Lab Protocol

PAC-SPEED

Reagents

SPEED

- Trifluoroacetic Acid (TFA), ≥ 99 %

Caution: TFA is highly corrosive. Handle in a fume hood with appropriate personal protective equipment!!!

- Neutralization Buffer: 2M TrisBase in H2O (12.1 g/50 mL)

(pH should not be adjusted!)

- Reduction/Alkylation Solution (10x): 100 mM Tris(2-carboxyethyl)phosphine (TCEP, 29 mg/mL),

400 mM 2-Chloroacetamide (CAA, 37 mg/mL) in H2O

(Prepare fresh before use. Weighed aliquots of TCEP and CAA can be stored at 4°C)

- Sample Dilution Buffer: 10:1 (v/v) mixture of 2M TrisBase and TFA

- MagReSyn® Amine Beads (20 mg/ml)

- H2O (LCMS grade)

- Acetonitrile (LCMS grade)

- 80 % Ethanol (LCMS grade)

- 10 % Trifluoroacetic Acid (TFA)

- Digestion Buffer: 50 mM TEAB in H2O

- Trypsin Stock Solution: 1µg/µl Trypsin in 50mM acetic acid (Platinum, MS Grade Promega)

Equipment

SPEED

- Pipette Tips

(need to be resistant to TFA, e.g. epT.I.P.S. from Eppendorf)

- PCR tubes

(need to be resistant to solvents, e.g from Eppendorf)

- Protein LoBind Microcentrifuge Tubes (1.5 mL)

(need to be resistant to TFA, e.g epT.I.P.S. from Eppendorf)

- ThermoMixer

- UV-VIS Spectrophotometer (Implen NP80)

- Disposable UV cuvettes (75 -1500 µL)

- Magnetic Rack for PCR stripes and for Microcentrifuge Tubes

Protocol

- Wash cells/tissue extensively to remove media/blood proteins.

- Lyse cells/tissue in TFA (sample : TFA ~ 1:4 - 1:8 (v/v)) for 2 – 10 min at RT

Sample should be mixed by pipetting occasionally. Usually lysis of cells takes 2-3 min and lysis of tissue up to 10 min. Proteins are stable in TFA for at least 1h (no longer incubation times were tested). Lysis is complete when all cells/tissue are solubilized and DNA is fully degraded (viscosity is water-like).

1.1 Gram-positive bacteria require heating for 3 min at 70°C for efficient lysis.

1.2 Samples should be neutralized instantly after heating.

- Add Neutralization Buffer (10 x volume of TFA (step 1))

pH should be ~ 8-9. Samples heat up (exothermic neutralization) and become turbid (proteins precipitate).

- Add Reduction/Alkylation Buffer (1.1 x volume of TFA (step 1))

- Incubate at 95°C for 5 min

Samples can be stored at - 20 or - 80°C for several months

- Determine protein concentration using Turbidity Measurement

Protein concentration determination in Gram-positive bacteria might be overestimated if heat-assisted cell lysis is incomplete, which can affect peptide yield.

5.1 Transfer samples to disposable UV cuvettes (dilute with Sample Dilution Buffer if necessary)

5.2 Measure absorption at 360 nm using a UV-VIS Spectrophotometer

5.3 Calculate protein concentration (cProtein [µgµL]=A360Sample* 0.36A360MacFarland 3)

5.4 Samples can be recovered for further preparation

- Transfer 20 µg Protein to a PCR-Tube

- Add Sample Dilution Buffer to a final volume of 50 µL

- Add 10 µL Beads and mix by vortexing

- Add 140 µL Acetonitrile and mix by vortexing

- Incubate for 10 min off the magnet

- Spin down briefly

- Place on magnet and incubate for 1 min

- Remove and discard supernatant

- Add 180 μL 80 % Ethanol on the magnet

- Remove and discard supernatant

- Add 180 μL 80 % Ethanol on the magnet

- Remove and discard supernatant

- Add 180 μL Acetonitrile on the magnet

- Remove and discard supernatant

- Add 40 µL Digestion Buffer including 2 µg Trypsin

- Mix by vortexing

- Spin down briefly

- Incubate at 37°C and 1000 rpm for 4 h

- Add 3 µL 10 % TFA

- Mix extensively by vortexing and spin down briefly

- Place on a magnet and incubate for 1 min

- Save supernatant in a new PCR stripe

- Place on a magnet and incubate for 1 min

- Save supernatant in a new PCR stripe

Samples must be free of beads!

- Store samples at – 20°C